## Analytical methods
DETERMINAND | DETERMINAND definition | DETERMINAND CAST concept URL | Units definition | UNITS CAST concept URL | LQDC | QUOTE TO | START | END | Filtration definition | FILTRATION CAST URI | Preservation definition | PRESERVATION CAST URI | Method definition | METHOD CAST URI | Machine definition | MACHINE CAST URI | PRE-CONCENTRATION PRIOR TO ANALYSIS TO IMPROVE DETECTION LIMIT | COMMENT
Al | dissolved aluminium | http://onto.nerc.ac.uk/CAST/23 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.6 | 0.1 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
Al27 | dissolved aluminium | http://onto.nerc.ac.uk/CAST/23 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.6 |  |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 |  |  | Al27 is ICPMS - mass is used to differentiate this result from Al analysed by ICPOES
Alkalinity | Gran alkalinity | http://onto.nerc.ac.uk/CAST/8 | microequivalents per litre | http://onto.nerc.ac.uk/CAST/155 | unknown |  | 212/9/2006 | 2007-09-01 | Unfiltered, but allowed to settle; effectively dissolved | http://onto.nerc.ac.uk/CAST/113 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Autotitration using Gran plots; pH titrated in the range 4.5 to 3.0. Titrant 0.1N sulphuric acid | http://onto.nerc.ac.uk/CAST/175 | A Metrohm Titrino autotitrator (model unspecified) | http://onto.nerc.ac.uk/CAST/123
Alkalinity | Gran alkalinity | http://onto.nerc.ac.uk/CAST/8 | microequivalents per litre | http://onto.nerc.ac.uk/CAST/155 | unknown |  | 2007-09-07 | present | Unfiltered, but allowed to settle; effectively dissolved | http://onto.nerc.ac.uk/CAST/113 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Machines which are automated to determine the concentration of an analyte via reaction with a known concentration and volume of titrant | http://onto.nerc.ac.uk/CAST/122 | Mettler - toledo DL53
As | dissolved arsenic | http://onto.nerc.ac.uk/CAST/27 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.008 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
B | dissolved boron | http://onto.nerc.ac.uk/CAST/33 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 1 | 1 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Ba | dissolved barium | http://onto.nerc.ac.uk/CAST/29 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.06 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
Be | dissolved beryllium | http://onto.nerc.ac.uk/CAST/31 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.003 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3506 | http://onto.nerc.ac.uk/CAST/135
Br | dissolved bromide | http://onto.nerc.ac.uk/CAST/105 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Ion chromatography | http://onto.nerc.ac.uk/CAST/181 | A Dionex ICS-2000 ion chromatograph operated to SOP 3149 | http://onto.nerc.ac.uk/CAST/142
Ca | dissolved calcium | http://onto.nerc.ac.uk/CAST/39 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
Cd | dissolved cadmium | http://onto.nerc.ac.uk/CAST/35 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.02 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Ce | dissolved cerium | http://onto.nerc.ac.uk/CAST/41 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.002 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
Cl | dissolved chloride | http://onto.nerc.ac.uk/CAST/14 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.2 | 0.1 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Ion chromatography | http://onto.nerc.ac.uk/CAST/181 | A Dionex ICS-2000 ion chromatograph operated to SOP 3149 | http://onto.nerc.ac.uk/CAST/142
Co | dissolved cobalt | http://onto.nerc.ac.uk/CAST/45 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.006 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Conductivity | electrical conductivity | http://onto.nerc.ac.uk/CAST/100 | uS/cm | http://onto.nerc.ac.uk/CAST/157 | 0.1 | 0.1 |  |  | Unfiltered, but allowed to settle; effectively dissolved | http://onto.nerc.ac.uk/CAST/113 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Measurement of conductivity with automatic temperature correction to 25 degrees Celsius | http://onto.nerc.ac.uk/CAST/176
Cr | dissolved chromium | http://onto.nerc.ac.uk/CAST/43 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.04 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Cs | dissolved caesium | http://onto.nerc.ac.uk/CAST/37 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.002 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
Cu | dissolved copper | http://onto.nerc.ac.uk/CAST/47 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.02 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3506 | http://onto.nerc.ac.uk/CAST/135
DOC | dissolved organic carbon | http://onto.nerc.ac.uk/CAST/19 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.5 | 0.1 | 2008 | present | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Non purgeable organic carbon thermal oxidation and conductivity detection | http://onto.nerc.ac.uk/CAST/164 |  | http://onto.nerc.ac.uk/CAST/125
F | dissolved fluoride | http://onto.nerc.ac.uk/CAST/107 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.02 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Ion chromatography | http://onto.nerc.ac.uk/CAST/181 | A Dionex ICS-2000 ion chromatograph operated to SOP 3149 | http://onto.nerc.ac.uk/CAST/142
Fe | dissolved iron | http://onto.nerc.ac.uk/CAST/49 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 1 | 1 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
Fe57 | dissolved iron | http://onto.nerc.ac.uk/CAST/49 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 1 |  |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 |  |  | Fe57 is ICPMS - mass is used to differentiate this result from Al analysed by ICPOES
K | dissolved potassium | http://onto.nerc.ac.uk/CAST/65 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.02 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
La | dissolved lanthanum | http://onto.nerc.ac.uk/CAST/51 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Li | dissolved lithium | http://onto.nerc.ac.uk/CAST/55 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.003 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
Mg | dissolved magnesium | http://onto.nerc.ac.uk/CAST/57 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.001 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
Mn | dissolved manganese | http://onto.nerc.ac.uk/CAST/59 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.006 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Mo | dissolved molybdenum | http://onto.nerc.ac.uk/CAST/61 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.03 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
Na | dissolved sodium | http://onto.nerc.ac.uk/CAST/77 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.006 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
NH4 | dissolved ammonium | http://onto.nerc.ac.uk/CAST/13 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.03 | 0.01 | 2008 | 2010 | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Automated colorimetry – method based on a modified Berthelot reaction, in which ammonia reacts with salicylate and dichloroisocyanurate to form an Indophenol dye. | http://onto.nerc.ac.uk/CAST/168 | A Seal AQ2 discrete analyzer operated to SOP 3115b | http://onto.nerc.ac.uk/CAST/118
Ni58 | dissolved nickel | http://onto.nerc.ac.uk/CAST/63 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 |  |  | Ni58 Separately identified by ICPMS
Ni60 |  | http://onto.nerc.ac.uk/CAST/63 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 |  |  | Ni60 Separately identified by ICPMS
NO2 | dissolved nitrite nitrogen | http://onto.nerc.ac.uk/CAST/17 | microequivalents per litre | http://onto.nerc.ac.uk/CAST/155 | 0.01 | 0.01 | 2009 | present | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Ion chromatography | http://onto.nerc.ac.uk/CAST/181 | A Dionex ICS-2000 ion chromatograph operated to SOP 3149 | http://onto.nerc.ac.uk/CAST/142
NO3 | dissolved nitrate nitrogen | http://onto.nerc.ac.uk/CAST/15 | microequivalents per litre | http://onto.nerc.ac.uk/CAST/155 | 0.01 | 0.01 | 2008 | 2009 | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Automated colorimetry - method based on the reduction to nitrite then a diazotisation reaction with sulphanilamide | http://onto.nerc.ac.uk/CAST/174 | A Seal AQ2 discrete analyzer operated to SOP 3115b | http://onto.nerc.ac.uk/CAST/118
NO3 | dissolved nitrate nitrogen | http://onto.nerc.ac.uk/CAST/15 | microequivalents per litre | http://onto.nerc.ac.uk/CAST/155 | 0.01 | 0.01 | 2009 | 2010 | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Ion chromatography | http://onto.nerc.ac.uk/CAST/181 | A Dionex ICS-2000 ion chromatograph operated to SOP 3149 | http://onto.nerc.ac.uk/CAST/142
NO3 | dissolved nitrate nitrogen | http://onto.nerc.ac.uk/CAST/15 | microequivalents per litre | http://onto.nerc.ac.uk/CAST/155 | 0.15 | 0.05 | 2008 | 2009 | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Automated colorimetry - method based on the reduction to nitrite then a diazotisation reaction with sulphanilamide | http://onto.nerc.ac.uk/CAST/174 | A Seal AQ2 discrete analyzer operated to SOP 3115b | http://onto.nerc.ac.uk/CAST/118
Pb | dissolved lead | http://onto.nerc.ac.uk/CAST/53 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.06 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
pH | pH | http://onto.nerc.ac.uk/CAST/101 |  | N/A | n/a | 0.01 | 2007-09-07 | present | Unfiltered, but allowed to settle; effectively dissolved | http://onto.nerc.ac.uk/CAST/113 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Electrometric determination of pH | http://onto.nerc.ac.uk/CAST/177 | Fisher brand hydrus 400 pH meter
PO4_P | phosphate | http://onto.nerc.ac.uk/CAST/20.html | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.005 |  |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Automated colorimetry | http://onto.nerc.ac.uk/CAST/167 |  | http://onto.nerc.ac.uk/CAST/118
N-POC | non-purgeable organic carbon | http://onto.nerc.ac.uk/CAST/243 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | unknown |  |  |  | Filtered using a 47mm GF/C glass fibre filter | http://onto.nerc.ac.uk/CAST/112 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | derived from POM | n/a | n/a | n/a
POM | Particulate Organic Matter |  | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 |  |  |  |  | Filtered using a 47mm GF/C glass fibre filter | http://onto.nerc.ac.uk/CAST/112 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | derived from ashing at 550 degrees celsius for 2 hours. |  | Carbolite furnace
Pr | dissolved praseodymium | http://onto.nerc.ac.uk/CAST/67 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.03 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Rb | dissolved rubidium | http://onto.nerc.ac.uk/CAST/69 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.002 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
S | dissolved sulfur | http://onto.nerc.ac.uk/CAST/81 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.04 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3506 | http://onto.nerc.ac.uk/CAST/135
Salinity | Salinity |  | nanograms per litre | http://onto.nerc.ac.uk/CAST/240 |  |  |  |  | Unfiltered, but allowed to settle; effectively dissolved | http://onto.nerc.ac.uk/CAST/113 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 |  |  | Refractometer
Sb | dissolved antimony | http://onto.nerc.ac.uk/CAST/25 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
Sc | dissolved scandium | http://onto.nerc.ac.uk/CAST/71 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.05 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
Se | dissolved selenium | http://onto.nerc.ac.uk/CAST/73 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.03 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3506 | http://onto.nerc.ac.uk/CAST/135
Si | dissolved silicon | http://onto.nerc.ac.uk/CAST/75 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.02 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored following acidification to 1% with concentrated high purity nitric acid | http://onto.nerc.ac.uk/CAST/188 | Inductively coupled plasma optical emission spectrometry | http://onto.nerc.ac.uk/CAST/180 | A Perkin Elmer 4300 DV inductively coupled plasma optical emission spectrometer operated to SOP 3104 | http://onto.nerc.ac.uk/CAST/140
Sn | dissolved tin | http://onto.nerc.ac.uk/CAST/85 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.006 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
SO4 | dissolved sulfate | http://onto.nerc.ac.uk/CAST/99 | ppm | http://onto.nerc.ac.uk/CAST/158 | 0.15 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Ion chromatography | http://onto.nerc.ac.uk/CAST/181 | A Dionex ICS-2000 ion chromatograph operated to SOP 3149 | http://onto.nerc.ac.uk/CAST/142
Sr | dissolved strontium | http://onto.nerc.ac.uk/CAST/79 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.03 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
TDP | total dissolved phosphorus | http://onto.nerc.ac.uk/CAST/192 | micrograms per litre | http://onto.nerc.ac.uk/CAST/158 | 0.005 |  |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 |  |  | SEAL_AQ2 | http://onto.nerc.ac.uk/CAST/118 |  | comment - http://onto.nerc.ac.uk/CAST/172 -pre treatment samples digested persulphate/autoclave method
Ti | dissolved titanium | http://onto.nerc.ac.uk/CAST/87 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.04 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
TON | total oxidised nitrogen | http://onto.nerc.ac.uk/CAST/193 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | 0.01 |  |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Sum of dissolved nitrate + dissolved nitrite | n/a | n/a | n/a
Total_N | total dissolved nitrogen | http://onto.nerc.ac.uk/CAST/110 | milligrams per litre | http://onto.nerc.ac.uk/CAST/158 | unknown |  |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Thermal oxidation | http://onto.nerc.ac.uk/CAST/186 | A Shimadzu TNM-1 analyser | http://onto.nerc.ac.uk/CAST/145
U | dissolved uranium | http://onto.nerc.ac.uk/CAST/91 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.002 | 0.001 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3504 | http://onto.nerc.ac.uk/CAST/135
V | dissolved vanadium | http://onto.nerc.ac.uk/CAST/93 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.02 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3505 | http://onto.nerc.ac.uk/CAST/135
W | dissolved tungsten | http://onto.nerc.ac.uk/CAST/89 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 0.01 | 0.01 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3506 | http://onto.nerc.ac.uk/CAST/135
Zn | dissolved zinc | http://onto.nerc.ac.uk/CAST/97 | micrograms per litre | http://onto.nerc.ac.uk/CAST/156 | 1 | 1 |  |  | Filtered using a 47mm 0.45um membrane | http://onto.nerc.ac.uk/CAST/111 | Samples stored at 4 degrees Celsius in the dark | http://onto.nerc.ac.uk/CAST/190 | Inductively coupled plasma mass spectrometry | http://onto.nerc.ac.uk/CAST/179 | A Perkin Elmer DRC 11 inductively coupled plasma mass spectrometer operated to SOP 3507 | http://onto.nerc.ac.uk/CAST/135